## How to Use
Free Electrical Estimate Templates
From Projul, construction management software for contractors
What's inside:
• Residential Rewire: 1,800 sq ft home rewire with 200-amp panel upgrade
• Commercial Build-Out: 3,000 sq ft office tenant improvement with data cabling
• Service Call: 200-amp panel upgrade plus EV charger circuit
How to use:
1. Pick the tab that matches the job, then right-click the tab > Move or Copy > Create a copy, so you keep a clean original.
2. Fill in your company and customer details at the top.
3. Edit the light-yellow cells: quantities, unit costs, overhead %, and profit %. Everything else calculates itself.
4. Use the blank rows in each section to add line items. Totals pick them up automatically.
5. Update the scope, exclusions, and terms at the bottom, then File > Save As PDF to send it.
About the numbers:
Example prices are mid-range U.S. figures for 2026. Replace them with your supplier pricing and your crew's real labor rates.
Profit is calculated on direct cost plus overhead. Overhead and profit percentages are inputs on each tab.
Google Sheets: File > Import > Upload this file. Formulas carry over.
Tired of spreadsheets? Projul builds, sends, and tracks estimates from your phone,
with e-signatures and one-click conversion to jobs and invoices.
Learn more: https://projul.com/blog/free-electrical-estimate-templates/?utm_source=template&utm_medium=xlsx&utm_campaign=electrical-estimate-templates

## Residential Rewire
Electrical Estimate: Residential Whole-Home Rewire
Your Company Name |  | Estimate # | 1001
Street Address, City, ST ZIP |  | Date
Phone ¦ Email ¦ License # |  | Valid Until
Prepared for: Customer Name
Job address: Street, City, ST ZIP
Example: complete rewire of a 1,800 sq ft, 3-bed, 2-bath home with a 200-amp panel upgrade. Assumes finished walls (fishing wire, not open framing).
Materials | Qty | Unit | Unit Cost | Total
200-amp main panel | 1 | each | 450
Circuit breakers (20A, 15A mix) | 30 | each | 12
GFCI breakers (kitchen, bath, exterior) | 6 | each | 42
AFCI breakers (bedrooms, living areas) | 12 | each | 38
12/2 Romex (general circuits) | 2000 | ft | 0.55
14/2 Romex (lighting circuits) | 1000 | ft | 0.42
10/2 Romex (dryer, water heater) | 100 | ft | 1.1
6/3 Romex (range circuit) | 50 | ft | 3.25
Duplex receptacles | 55 | each | 2.5
GFCI receptacles | 8 | each | 18
Single-pole switches | 20 | each | 2.5
3-way switches | 6 | each | 4
Dimmer switches | 4 | each | 22
Device boxes (old work) | 90 | each | 3.5
Cover plates | 90 | each | 0.75
Wire staples, connectors, tape | 1 | lot | 120
Ground rods (8 ft copper) | 2 | each | 18
Grounding and bonding materials | 1 | lot | 75
Smoke/CO detectors (hardwired) | 7 | each | 35
Materials Subtotal
Labor | Qty | Unit | Unit Cost | Total
Panel removal and new panel install | 8 | hours | 95
Run new circuits (fish through walls) | 48 | hours | 95
Install receptacles and switches | 12 | hours | 95
Install smoke/CO detectors | 3 | hours | 95
Install ground rods and bonding | 2 | hours | 95
Label panel and final connections | 4 | hours | 95
Helper/apprentice labor | 40 | hours | 45
Labor Subtotal
Other Costs | Qty | Unit | Unit Cost | Total
Permit and inspections | 1 | each | 350
Drywall patching allowance | 1 | lot | 500
Truck/travel (3 trips) | 3 | trips | 50
Other Costs Subtotal
Summary
Materials
Labor
Other Costs
Direct Cost Subtotal
Overhead |  |  | 15%
Profit (on direct cost + overhead) |  |  | 12%
TOTAL ESTIMATE
Scope of work
Remove existing panel and install new 200-amp main panel. Rewire all circuits with new NM cable, install new receptacles, switches, dimmers, and hardwired smoke/CO detectors. Install ground rods and bonding. Label panel. AFCI and GFCI protection installed per current NEC and local amendments.
Exclusions
Drywall patching beyond the included allowance, painting, light fixtures not listed, and utility-side service upgrades.
Timeline
Estimated [X] working days. Inspector availability may add 3 to 5 business days to close out.
Payment terms
50% deposit at scheduling, 50% due at completion.
Warranty
1-year workmanship warranty on all installed work. Manufacturer warranties apply to devices.
License and insurance
Electrical license #[number]. Insured by [carrier], policy #[number].
Customer signature: ______________________________ |  |  | Date: ____________
Template by Projul · projul.com

## Commercial Build-Out
Electrical Estimate: Commercial Office Build-Out
Your Company Name |  | Estimate # | 1001
Street Address, City, ST ZIP |  | Date
Phone ¦ Email ¦ License # |  | Valid Until
Prepared for: Customer Name
Job address: Street, City, ST ZIP
Example: 3,000 sq ft office TI with 8 private offices, conference room, break room, server closet, and open workspace. Assumes metal stud walls and accessible ceiling.
Materials | Qty | Unit | Unit Cost | Total
Sub-panel (125-amp, 42 space) | 1 | each | 650
Circuit breakers (20A) | 35 | each | 12
MC cable (12/2, commercial) | 3000 | ft | 0.85
MC cable (10/3, dedicated circuits) | 200 | ft | 1.65
Commercial-grade receptacles | 80 | each | 4.5
Isolated ground receptacles (server room) | 8 | each | 22
Commercial switches and dimmers | 25 | each | 8
4-square boxes and mud rings | 110 | each | 3
2x4 LED troffer fixtures | 40 | each | 85
LED can lights (lobbies, conference) | 12 | each | 45
Emergency/exit lighting | 6 | each | 75
Occupancy sensors | 10 | each | 35
Cat6 cable (data drops) | 4000 | ft | 0.35
Data jacks and plates | 40 | each | 12
Patch panel and rack (server closet) | 1 | lot | 800
Conduit and fittings | 1 | lot | 600
Wire nuts, straps, miscellaneous | 1 | lot | 250
Materials Subtotal
Labor | Qty | Unit | Unit Cost | Total
Sub-panel installation and feeders | 8 | hours | 100
Rough-in circuits (MC in ceiling/walls) | 60 | hours | 100
Install receptacles and switches | 16 | hours | 100
Install light fixtures (52 total) | 20 | hours | 100
Install emergency/exit lights | 4 | hours | 100
Occupancy sensor wiring and setup | 4 | hours | 100
Data cabling rough-in and termination | 24 | hours | 85
Server closet build-out | 6 | hours | 100
Panel terminations and labeling | 6 | hours | 100
Testing and commissioning | 4 | hours | 100
Apprentice/helper | 60 | hours | 48
Labor Subtotal
Other Costs | Qty | Unit | Unit Cost | Total
Permit and inspections | 1 | each | 550
As-built drawings | 1 | lot | 400
Lift rental (2 days) | 2 | days | 175
Other Costs Subtotal
Summary
Materials
Labor
Other Costs
Direct Cost Subtotal
Overhead |  |  | 12%
Profit (on direct cost + overhead) |  |  | 12%
TOTAL ESTIMATE
Scope of work
Install 125-amp sub-panel and feeders. Rough-in and trim all power circuits in MC cable, install LED lighting, emergency/exit lighting, and occupancy sensors per lighting plan. Install Cat6 data drops, terminate at patch panel, and build out server closet. Provide as-built drawings.
Exclusions
Fire alarm, security, AV systems, and any work not shown on the electrical drawings dated [date].
Schedule
Rough-in: [dates]. Trim-out: [dates]. Coordinated with GC schedule.
Payment terms
Progress billing monthly, net 30. [X]% retainage released at final inspection.
Warranty
1-year workmanship warranty. Manufacturer warranties apply to fixtures and devices.
Customer signature: ______________________________ |  |  | Date: ____________
Template by Projul · projul.com

## Service Call
Electrical Estimate: Residential Service Call
Your Company Name |  | Estimate # | 1001
Street Address, City, ST ZIP |  | Date
Phone ¦ Email ¦ License # |  | Valid Until
Prepared for: Customer Name
Job address: Street, City, ST ZIP
Example: upgrade a 100A panel to 200A, transfer existing circuits, and add a dedicated 50A/240V circuit and NEMA 14-50 outlet in the garage for an EV charger.
Materials | Qty | Unit | Unit Cost | Total
200-amp panel (replacement) | 1 | each | 450
200-amp main breaker | 1 | each | 85
New 50-amp 2-pole breaker (EV circuit) | 1 | each | 22
6/3 NM cable (panel to garage, 40 ft) | 50 | ft | 3.25
NEMA 14-50 receptacle | 1 | each | 15
Weatherproof box (if exterior route) | 1 | each | 18
Conduit and fittings (exterior run) | 15 | ft | 4
Ground rods and clamps | 2 | each | 18
Bonding jumpers and grounding wire | 1 | lot | 45
Miscellaneous (tape, connectors, staples) | 1 | lot | 30
Materials Subtotal
Labor | Qty | Unit | Unit Cost | Total
Disconnect and remove old panel | 2 | hours | 95
Install new 200A panel | 3 | hours | 95
Transfer existing circuits | 2 | hours | 95
Run new 50A EV circuit to garage | 2 | hours | 95
Install NEMA 14-50 outlet | 0.5 | hours | 95
Ground rods and bonding | 1 | hours | 95
Test all circuits and label panel | 1.5 | hours | 95
Labor Subtotal
Other Costs | Qty | Unit | Unit Cost | Total
Permit | 1 | each | 200
Trip/diagnostic fee (waived if work proceeds) | 1 | each | 0
Other Costs Subtotal
Summary
Materials
Labor
Other Costs
Direct Cost Subtotal
Overhead |  |  | 15%
Profit (on direct cost + overhead) |  |  | 15%
TOTAL ESTIMATE
Scope of work
Upgrade existing 100A panel to 200A, transfer all existing circuits, add one dedicated 50A/240V circuit to garage for EV charging, and install NEMA 14-50 receptacle.
Exclusions
Does not include drywall repair, painting, EV charger unit, or utility-side upgrades (service entrance cable or meter base, if required by the utility).
Timeline
1 day on site. Inspector availability may add 3 to 5 business days.
Payment terms
50% deposit at scheduling, 50% due at completion.
Warranty
1-year workmanship warranty. Manufacturer warranties apply to all devices.
Customer signature: ______________________________ |  |  | Date: ____________
Template by Projul · projul.com